SECTION 09 29 00 – GYPSUM BOARD, 1/2 in. (12.7 mm) and 5/8 in. (15.9 mm) USG Securock® Brand UltraLight Glass-Mat Sheathing (Regular and Firecode® X)

|  |
| --- |
| **Product Summary:** |
| * The lightest 1/2 in. (12.7 mm) Regular and 5/8 in. (15.9 mm) Type X glass-mat sheathing with moisture and mold resistance—up to 15% lighter than other glass-mat sheathings * Direct substitute for USG Sheetrock® Brand Gypsum Sheathing (Regular and Firecode® X) when prolonged weather exposure is anticipated * Feature a coated fiberglass facer mat to maximize coverage of air/water barrier systems * Treated gypsum core, combined with fiberglass face and back, offers exceptional water resistance * Comply with ASTM C1177, *Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing,* for 1/2 in. (12.7 mm) Regular, 5/8 in. (15.9 mm) Type X and glass mat water-resistant gypsum substrate * Score a "10" when tested in accordance with ASTM D3273, *Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber* * Underwriters Laboratories Inc. (UL) Classification of 1/2 in. (12.7 mm) panels as to surface-burning  characteristics and noncombustibility * UL Classification of 5/8 in. (15.9 mm) panels as to fire resistance, surface-burning characteristics and  noncombustibility * Can be exposed to weather for up to 12 months and are guaranteed five years against manufacturing defects * 5/8 in. (15.9 mm) Type X panels can be used in any UL Design in which Type USGX panels are listed * For more information, refer to product submittal sheet WB2862 or usg.com |

|  |
| --- |
| **Note to Specification Writers:** |
| * This document is not intended to function as a standalone specification. It is intended to assist the specifier in inserting the proper language into the following recommended specification sections: 09 29 00 – GYPSUM BOARD. * This product is manufactured at USG gypsum panel plants, reducing distances and carbon footprint for transport. * Panels shall be installed in accordance with GA-253, *Application of Gypsum Sheathing*, ASTM C1280  *Standard Specification for Application of Exterior Gypsum Panel Products for Use as Sheathing* and USG  literature *USG Securock® Brand UltraLight Glass-Mat Sheathing Installation Guide* (WB2451). * Contact USG at800.874.4968 for technical questions. |

PART 2 – GYPSUM PANEL PRODUCTS

2.1 MOISTURE- AND MOLD-RESISTANT REGULAR AND TYPE X GLASS-MAT GYPSUM SHEATHING

* + - * 1. ASTM C1177, *Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing,* for 1/2 in. (12.7 mm) Regular, 5/8 in. (15.9 mm) Type X and glass mat water-resistant gypsum substrate

Basis of Design: Subject to compliance with project requirements, the design is based on the following: United States Gypsum Company, USG Securock® Brand UltraLight Glass-Mat Sheathing

UL Type Designation: [1/2 in. (12.7 mm): Not applicable] [5/8 in. (15.9 mm): “USGX”]

ASTM E136 Noncombustibility: Meets

ASTM E84 Surface-Burning Characteristics

Flame Spread: [1/2 in. (12.7 mm): 0] [5/8 in. (15.9 mm): 0]

Smoke Developed: [1/2 in. (12.7 mm): 0] [5/8 in. (15.9 mm): 0]

Class A (Flame spread not greater than 25 and smoke developed not greater than 450): Meets

ASTM C473, *Standard Test Methods for Physical Testing of Gypsum Panel Products*

Core Hardness

Field: {1/2 in. [12.7 mm] (Not less than 15 lbf (67 N)): Meets} {5/8 in. [15.9 mm] (Not less than 15 lbf (67 N)): Meets}

End: {1/2 in. [12.7 mm] (Not less than 15 lbf (67 N)): Meets} {5/8 in. [15.9 mm] (Not less than 15 lbf (67 N)): Meets}

Edge: {1/2 in. [12.7 mm] (Not less than 15 lbf (67 N)): Meets} {5/8 in. [15.9 mm] (Not less than 15 lbf (67 N)): Meets}

Flexural Strength

Parallel: {1/2 in. [12.7 mm] (Not less than 80 lbf (356 N)): Meets} {5/8 in. [15.9 mm] (Not less than 100 lbf (445 N)): Meets}

Perpendicular: {1/2 in. [12.7 mm] (Not less than 100 lbf (445 N)): Meets} {5/8 in. [15.9 mm] (Not less than 140 lbf (623 N)): Meets}

Nail Pull Resistance: {1/2 in. [12.7 mm] (Not less than 80 lbf (356 N)): Meets} {5/8 in. [15.9 mm] (Not less than 90 lbf (400 N)): Meets}

Humidified Deflection: {1/2 in. [12.7 mm] (Not greater than 1/4 in. (6 mm)): Meets} {5/8 in. [15.9 mm] (Not greater than 1/8 in. (3 mm)): Meets}

Average Water Absorption (Not greater than 10% by weight after two-hour immersion): Meets

ASTM D3273, *Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber*: [1/2 in. (12.7 mm): 10] [5/8 in. (15.9 mm): 10]

Thickness: [1/2 in. (12.7 mm)] [5/8 in. (15.9 mm)]

Length: 8-12 ft. (2438-3658 mm)

Width: 48 in. (1219 mm)

Weight: [1/2 in. (12.7 mm): 1.7 lb./sq. ft. (8.3 kg/sq. m.)] [5/8 in. (15.9 mm): 2.2 lb./sq. ft. (10.7 kg/sq. m.)]

Edge: Square

Disclaimer: The USG Product Specifications contained herein are intended for use as product reference material by architects, engineers, other design professionals, contractors, building code officials, or other competent construction industry trade professionals having an interest in the selection, specification and use of products manufactured by the subsidiaries of USG Corporation. The specifications are intended solely as technical support incident to the sale and use of USG products and not intended to be a substitute for the design review and approval of the licensed design professionals for the project. These materials may be printed and/or transferred electronically solely as needed by the user. Because electronic files can be modified by other parties, without notice or indication of such modifications, modification of USG Product Guide Specifications is the sole responsibility of the Design Professional.